## Slide 1: Medical Device Manufacturing FDA Emergency Use Act
An FDA Perspective Of the Medical Device Industry
Clear direction in today’s regulatory and manufacturing landscape

## Slide 2
Clear direction in today’s regulatory and manufacturing landscape
FDA regulatory and compliance consulting firm. Specialize in:
Writing FDA quality manuals and manufacturing SOPs.
Managing FDA regulatory submissions.
Navigating FDA regulations for changes and updates.
New York based association of over 100 pharmaceutical, biotech and medical technology companies.
MedTech purpose: Connect, Educate and Advocate for NY State companies operating in the MedTech industry.

## Slide 3: Presentation Summary
Overview of medical device manufacturing FDA QSR – Device Classification - FDA 510k – Product Testing
What is an FDA guidance document? How does the Emergency Use Act (EUA) guide manufacturing during a pandemic? Current products in Demand during the COVID-19 pandemic (discussion of medical devices in need).
Customer demand: know who is buying the product before you manufacture. Can your facility safely produce products under time pressure?
Clear direction in today’s regulatory and manufacturing landscape

## Slide 4: Medical Device Manufacturing
Clear direction in today’s regulatory and manufacturing landscape
Main points to consider before starting medical device production
Product’s intended use (therapeutic, prevent disease, treat or diagnose)
Medical device classification Class 1 – low risk – least burdensome, least expensive – surgical retractor Class 2 – moderate risk – insulin pump Class 3 - high risk (life sustaining) – continuous glucose monitor
3. Manufacturing compliance needs per classification. Annual FDA registration and product listing. FDA annual fee. Quality System Regulation adherence and documentation. Class 1 – registration / product listing (unless sterilized- QSR also applies)
Class 2 – 510k, GMP, 21CFR 820 Quality Manual in place Class 3 – PMA, facility audits
Is the upfront investment worth the sales opportunities in the pipeline?

## Slide 5: FDA Guidance Documents
Clear direction in today’s regulatory and manufacturing landscape
Purpose of an FDA guidance document: Give FDA’s current thinking about a specific topic. Does not establish legally enforceable responsibility.
FDA Emergency Use Act (EUA) designed to protect the public against a CBRN (chemical, biological, radiological or nuclear) outbreak.
HHS issued EUA to fight against the COVID-19 pandemic.
Guidance related to EUA – COVID 19 Ventilators and Parts PPE – Personal Protective Equipment
Hand Sanitizer
In Vitro Diagnostics

## Slide 6: How to Manufacture Under EUA
Clear direction in today’s regulatory and manufacturing landscape
Hand Sanitizer An over the counter drug. Normally requires rigorous preliminary New Drug Code assignment from FDA, establishment registration and following specific FDA monograph regulations. Under EUA Straight forward registration is required. NDC number not needed for immediate term. FDA provides all ingredient and labeling to use for product. Streamlined process allows for faster production and distribution.

## Slide 7: How to Manufacture Under EUA
Clear direction in today’s regulatory and manufacturing landscape
Face Masks - Respirators Purpose of EUA is to expand availability of general use face masks to the public and healthcare workers. Under EUA During this time FDA will not object to distribution of improvised use of non medical face masks. (when the 7 FDA cleared mask device types are unavailable).
FDA is relaxing premarket submission requirements for manufacturers making liquid barrier, surgical face masks. Safety/biocompatibility/fire testing needed.
FDA is interested in finding more manufacturers with capability to reprocess single use N95 respirators FDA is interested in finding more manufactures to make N95, surgical and general use masks. DISCUSS PROCESS FOR SUBMITTING INQUIRY TO FDA : CDRH-COVID19-SurgicalMasks@fda.hhs.gov;

## Slide 8: How to Manufacture Under EUA
Clear direction in today’s regulatory and manufacturing landscape
3. Ventilators Typically a class II medical device requiring FDA 510k clearance, FDA establishment registration, device specific labeling and documentation of a Quality Manual. Close to 1 year to bring to market. Under EUA Temporary waiver for FDA registration and listing (for 13 FDA product code types) manufactured product must be present on EUA approved device list for ventilators and ventilator accessories product must meet specific compliance and testing standards Use of FDA provided labeling
develop adverse event reporting process IFUs for hospital staff

## Slide 9: How to Manufacture Under EUA
Clear direction in today’s regulatory and manufacturing landscape
In-Vitro Diagnostics Tests performed on samples such as blood or tissue that have been taken from the human body. In vitro diagnostics detect diseases or other conditions. Not a recommended manufacturing pathway during the pandemic. Products are complex, require scientific development, clinical studies and chemical reagents (in low supply now). Time to market is too long, expensive and complex to deliver without pre existing capacity.

## Slide 10: When the EUA is Terminated
Clear direction in today’s regulatory and manufacturing landscape
EUA Products not manufactured to normal FDA compliance standards can no longer be sold.
If an approved product is used for an unapproved purpose, FDA may approve the pandemic use at a later date. Standard regulatory procedures will apply.
Public will get 30 day advance notice to dispose of remaining, unapproved product.
Can your company afford to produce in mass to meet pandemic needs? Cost may be too large if inventory must be disposed.

## Slide 11: Contact Information
Michelle Bonn, President michelle@guidelinemedical.com
www.guidelinemedical.com
Your FDA regulatory and compliance partners
Clear direction in today’s regulatory and manufacturing landscape